## Calculator
Instructions:
1. DO NOT CHANGE ANY OF THE GREEN CELLS!
2. Enter your room dimensions in feet into the yellow shaded cells in ROW 10
3. Select the best material for each room surface from the drop down menus in column G. These cells are also shaded yellow. (ROWS 13-18)
4. If you have windows, doors, rugs etc enter the info in yellow cells in ROWS 22-33. You can enter 2 windows/rugs/doors per room surface.
5. Your estimated room REVERBERATION time will be shown in cell B24.
6. Your estimated treatment needs will be shown in the table.
| Length | Width | Height
| 28.44 | 17.11 | 2.7
Main Materials | Width (ft) | Height or Length (ft) | Width (m) | Height or Length (m) | Area (m2) | Material | NRC | Absorption
Floor | 17.11 | 28.44 | 5.2151 | 8.6685 | 45.2074 | Plywood | 0.15 | 6.7811
Ceiling | 17.11 | 28.44 | 5.2151 | 8.6685 | 45.2074 | Concrete | 0.05 | 2.2604
Wall 1 | 28.44 | 2.7 | 8.6685 | 0.82296 | -30.0274 | Concrete | 0.05 | -1.5014
Wall 2 | 17.11 | 2.7 | 5.2151 | 0.82296 | -515.9652 | Concrete | 0.05 | -25.7983
Wall 3 | 28.44 | 2.7 | 8.6685 | 0.82296 | -104.3498 | Concrete | 0.05 | -5.2175
Wall 4 | 17.11 | 2.7 | 5.2151 | 0.82296 | 4.2918 | Concrete | 0.05 | 0.21459
Windows, Door, Rugs etc | Width (ft) | Height or Length (ft) | Width (m) | Height or Length (m) | Area (m2) | Material | NRC | Absorption
Floor - a |  |  | 0 | 0 | 0 | 4 Inch Wedge Acoustic Foam | 0.8 | 0
Floor - b | 0 | 0 | 0 | 0 | 0 | 4 Inch Wedge Acoustic Foam | 0.8 | 0
Ceiling - a | 0 | 0 | 0 | 0 | 0 | 4 Inch Wedge Acoustic Foam | 0.8 | 0
Ceiling - b | 0 | 0 | 0 | 0 | 0 | Glass | 0.05 | 0
Wall 1 - a | 20 | 10 | 6.096 | 3.048 | 18.5806 | Glass | 0.05 | 0.92903
Wall 1 - b | 20 | 10 | 6.096 | 3.048 | 18.5806 | Glass | 0.05 | 0.92903
Wall 2 - a | 140 | 20 | 42.672 | 6.096 | 260.1285 | 4 Inch Wedge Acoustic Foam | 0.8 | 208.1028
Wall 2 - b | 140 | 20 | 42.672 | 6.096 | 260.1285 | 4 Inch Wedge Acoustic Foam | 0.8 | 208.1028
Wall 3 - a | 30 | 20 | 9.144 | 6.096 | 55.7418 | 4 Inch Wedge Acoustic Foam | 0.8 | 44.5935
Wall 3 - b | 30 | 20 | 9.144 | 6.096 | 55.7418 | 4 Inch Wedge Acoustic Foam | 0.8 | 44.5935
Wall 4 - a | 0 | 0 | 0 | 0 | 0 | 4 Inch Wedge Acoustic Foam | 0.8 | 0
Wall 4 - b | 0 | 0 | 0 | 0 | 0 | 4 Inch Wedge Acoustic Foam | 0.8 | 0
Total Absorption | 483.9896
Volume (m3) | 37.2039
Reverberation Time (T60) in seconds | 0.012299
Desired Reverberation Time is seconds | Total Absorption Needed | Number of 1 Inch Thick Panels Needed | Number of 2 Inch Thick Panels Needed | Number of 3 Inch Thick Panels Needed | Number of 4 Inch Thick Panels Needed
0.2 | 29.7631 | -12617.4013 | -7764.5546 | -6729.2807 | -6308.7006
0.3 | 19.8421 | -12892.9856 | -7934.145 | -6876.259 | -6446.4928
0.4 | 14.8816 | -13030.7778 | -8018.9402 | -6949.7481 | -6515.3889
0.5 | 11.9052 | -13113.4531 | -8069.8173 | -6993.8416 | -6556.7265
0.6 | 9.921 | -13168.5699 | -8103.7353 | -7023.2373 | -6584.285
0.7 | 8.5037 | -13207.9391 | -8127.9625 | -7044.2342 | -6603.9695
0.8 | 7.4408 | -13237.466 | -8146.1329 | -7059.9819 | -6618.733
0.9 | 6.614 | -13260.4313 | -8160.2654 | -7072.2301 | -6630.2157
1 | 5.9526 | -13278.8036 | -8171.5715 | -7082.0286 | -6639.4018
1.1 | 5.4115 | -13293.8355 | -8180.8219 | -7090.0456 | -6646.9178
1.2 | 4.9605 | -13306.3621 | -8188.5305 | -7096.7264 | -6653.181
1.3 | 4.5789 | -13316.9615 | -8195.0532 | -7102.3794 | -6658.4807
1.4 | 4.2519 | -13326.0467 | -8200.6441 | -7107.2249 | -6663.0233
1.5 | 3.9684 | -13333.9205 | -8205.4895 | -7111.4243 | -6666.9602
1.6 | 3.7204 | -13340.8101 | -8209.7293 | -7115.0987 | -6670.4051
1.7 | 3.5015 | -13346.8892 | -8213.4703 | -7118.3409 | -6673.4446
1.8 | 3.307 | -13352.2928 | -8216.7956 | -7121.2228 | -6676.1464
1.9 | 3.133 | -13357.1276 | -8219.7708 | -7123.8014 | -6678.5638
2 | 2.9763 | -13361.4789 | -8222.4486 | -7126.1221 | -6680.7395
2.1 | 2.8346 | -13365.4158 | -8224.8713 | -7128.2218 | -6682.7079
2.2 | 2.7057 | -13368.9949 | -8227.0738 | -7130.1306 | -6684.4974
2.3 | 2.5881 | -13372.2627 | -8229.0847 | -7131.8734 | -6686.1313
2.4 | 2.4803 | -13375.2581 | -8230.9281 | -7133.471 | -6687.6291
2.5 | 2.381 | -13378.014 | -8232.624 | -7134.9408 | -6689.007
2.6 | 2.2895 | -13380.5578 | -8234.1894 | -7136.2975 | -6690.2789

## Material Sheet
Material | 125 Hz | 250 Hz | 500 Hz | 1000 Hz | 2000 Hz | 4000 Hz | NRC | Aborption Per Sq Ft
Gypsum wallboard (Drywall) | 0.29 | 0.1 | 0.05 | 0.04 | 0.07 | 0.09 | 0.05
Concrete | 0.1 | 0.05 | 0.06 | 0.07 | 0.09 | 0.08 | 0.05
Plywood | 0.28 | 0.22 | 0.17 | 0.09 | 0.1 | 0.11 | 0.15
Carpet - thick no pad | 0.02 | 0.06 | 0.14 | 0.37 | 0.6 | 0.65 | 0.3
Carpet - thick with pad | 0.08 | 0.24 | 0.57 | 0.69 | 0.71 | 0.73 | 0.55
Hardwood flooring | 0.28 | 0.22 | 0.17 | 0.09 | 0.1 | 0.11 | 0.15
Brick | 0.03 | 0.03 | 0.03 | 0.04 | 0.05 | 0.07 | 0.05
Linoleum | 0.02 | 0.03 | 0.03 | 0.03 | 0.03 | 0.02 | 0.05
Asphalt | 0.02 | 0.03 | 0.03 | 0.03 | 0.03 | 0.02 | 0.05
Glass | 0.18 | 0.05 | 0.04 | 0.03 | 0.03 | 0.02 | 0.05
Concrete or terrazzo flooring | 0.01 | 0.01 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
Tile on concrete | 0.02 | 0.03 | 0.03 | 0.03 | 0.03 | 0.02 | 0.05
Light velour fabric | 0.03 | 0.04 | 0.11 | 0.17 | 0.24 | 0.35 | 0.15
Medium velour fabric | 0.07 | 0.31 | 0.49 | 0.75 | 0.7 | 0.6 | 0.55
Heavy velour fabric | 0.14 | 0.35 | 0.55 | 0.72 | 0.7 | 0.65 | 0.6
Marble | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.01
Water surface - pool | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.03 | 0.01
1 Inch Wedge Acoustic Foam | 0.14 | 0.17 | 0.36 | 0.47 | 0.51 | 0.61 | 0.4 | 0.036
2 Inch Wedge Acoustic Foam | 0.2 | 0.29 | 0.66 | 0.8 | 0.89 | 1.02 | 0.65 | 0.0585
3 Inch Wedge Acoustic Foam | 0.25 | 0.47 | 0.83 | 0.82 | 0.92 | 1.04 | 0.75 | 0.0675
4 Inch Wedge Acoustic Foam | 0.39 | 0.61 | 0.91 | 0.79 | 0.95 | 1.03 | 0.8 | 0.072